## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | COMBINED PUMP SET |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
1.1 |  | RATED PUMP DUTY: 200 GPM @ 8 BAR (UL/FM APPROVED) 1E-NAFFCO UL/FM APPROVED HORIZONTAL END SUCTION PUMP INCLUDING VALVES AND FITTINGS |  |  | EA | 1 | 8181 | 8181 | 0 | 8181 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | FOAM FIGHTING, AREA-FUEL FILLING STATION |  |  | SET | 1 | 18518 | 18518 | 0 | 18518 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.1 |  | 100 Gallon Vertical Bladder Tank UL Listed w/ Ratio Controller |  |  | EA | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.2 |  | AFFF Concentrate, NF3F-C6-AFFF |  |  | GAL | 102 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.3 |  | Deluge Valve Assembly 2" Model: SD-DVA c/w Basic Trim, , Solenoid 24VDC Valve, Water Motor Alarm Gong - SD-GA, Pressure Switch - PS10-1, Main Drain Valve, Pressure Gauge 0-250 PSI - Model: SD-P |  |  | NOS | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.4 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D w/ Tamper Switch |  |  | EA | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.5 |  | OS&Y Gate Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D w/ Tamper Switch |  |  | EA | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.6 |  | Air Foam Water Sprinkler Bronze 1/2" Inlet UL Listed, NH500 |  |  | EA | 14 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.7 |  | Air Rlease Valve 1" -NAFFCO NWR 104 |  |  | EA | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.8 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.9 |  | Probe Type Explosion Proof Heat Detector, Fike- Model: 60-009 |  |  | EA | 3 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.10 |  | FLAME DETECTOR, REZONTECH, Model: RFD-2000X |  |  | EA | 3 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.11 |  | FIRE BELL 6"c/w back box, model FB1000C6 |  |  | EA | 2 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.12 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | EA | 2 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.13 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | EA | 2 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.14 |  | Warning Sign (3 nos) |  |  | EA | 2 |  |  | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting