## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | RATED PUMP DUTY : 750 GPM @ 8.09 BAR JOCKEY PUMP DUTY : 10 GPM @ 8.79 BAR (1E+1D+1J) - NAFFCO UL/FM APPROVED HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (TEFC MOTOR & DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND NAFFCO UL/FM APPROVED 1 ELECTRIC (Y-DELTA OPEN TYPE TRANSITION, NEMA 3 Enclosure) + NAFFCO UL/FM APPROVED 1 DIESEL (NEMA 3 Enclosure) + NAFFCO UL LISTED 1 JOCKEY PUMP CONTROLLER (NEMA 3 Enclosure) AND STANDARD ACCESSORIES AS PER PUMP REF#H01-EXP-9370 R2 |  |  | SET | 1 | 36318 | 36318 | 0 | 36318 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | Controlled Dividing Breech 2-1/2" Male Inst, Inlet & 2 x 2-1/2"-Female Inst. Outlet |  |  | EA | 1 | 360 | 360 | 0 | 360 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
3 |  | 2 YEARS RECOMMENDED OEPRATIONAL SPARE PARTS FOR FIIRE PUMP (Per Pump) Gland packing ring – 1 Set Gasket Set – 1 Set Shaft Sleeve – 1 Set 2 YEARS RECOMMENDED OEPRATIONAL SPARE PARTS FOR ENGINE Lube Oil Filter – 1No Fuel Filter – 1No Air Cleaner Element – 1No |  |  | SET | 1 | 2500 | 2500 | 0 | 2500 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting