## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD 1230 -ROOM 1 |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
1.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
1.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 416 | 90 | 27.1003 | 10 | 11273.7127 | 0 | FALSE |  |  | 0
1.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
1.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
1.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
1.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
1.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
1.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
1.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
1.11 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
1.12 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
1.13 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
1.14 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 7 | 300 | 90.3342 | 10 | 632.3397 | 0 | FALSE |  |  | 0
1.15 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
2 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
2.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
2.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 6 | 47 | 14.1524 | 10 | 84.9142 | 0 | FALSE |  |  | 0
2.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
2.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
2.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
2.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
3 |  | SHIELD 1230 -DRIVE CRMA ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
3.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
3.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 394 | 90 | 27.1003 | 10 | 10677.5068 | 0 | FALSE |  |  | 0
3.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
3.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
3.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
3.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
3.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
3.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
3.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
3.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
3.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
3.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
3.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 7 | 300 | 90.3342 | 10 | 632.3397 | 0 | FALSE |  |  | 0
3.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
4 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
4.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
4.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 6 | 47 | 14.1524 | 10 | 84.9142 | 0 | FALSE |  |  | 0
4.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
4.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
4.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
4.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
5 |  | SHIELD 1230 -CRMB DRIVE ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
5.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
5.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 440 | 90 | 27.1003 | 10 | 11924.1192 | 0 | FALSE |  |  | 0
5.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
5.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
5.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
5.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
5.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
5.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
5.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
5.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
5.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
5.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
5.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 8 | 300 | 90.3342 | 10 | 722.6739 | 0 | FALSE |  |  | 0
5.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
6 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
6.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
6.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 8 | 47 | 14.1524 | 10 | 113.2189 | 0 | FALSE |  |  | 0
6.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
6.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
6.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
6.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
7 |  | SHIELD 1230 -LGA ELECTRICAL ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
7.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
7.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 390 | 90 | 27.1003 | 10 | 10569.1057 | 0 | FALSE |  |  | 0
7.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
7.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
7.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
7.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
7.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
7.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
7.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
7.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
7.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
7.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
7.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 7 | 300 | 90.3342 | 10 | 632.3397 | 0 | FALSE |  |  | 0
7.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
8 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
8.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
8.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 8 | 47 | 14.1524 | 10 | 113.2189 | 0 | FALSE |  |  | 0
8.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
8.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
8.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
8.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
9 |  | SHIELD 1230 -LGA ELECTRICAL ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
9.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
9.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 414 | 90 | 27.1003 | 10 | 11219.5122 | 0 | FALSE |  |  | 0
9.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
9.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
9.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
9.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
9.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
9.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
9.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
9.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
9.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
9.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
9.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 7 | 300 | 90.3342 | 10 | 632.3397 | 0 | FALSE |  |  | 0
9.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
10 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
10.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
10.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 6 | 47 | 14.1524 | 10 | 84.9142 | 0 | FALSE |  |  | 0
10.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
10.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
10.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
10.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
11 |  | SHIELD 1230 -PLC ROOM (WTP) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
11.1 |  | SHIELD1230 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL: SD-106FK5-02 | SHIELD | SD-106FK5-02 | Nos | 1 | 5600 | 1686.2391 | 10 | 1686.2391 | 0 | FALSE |  |  | 0
11.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 82 | 90 | 27.1003 | 10 | 2222.2222 | 0 | FALSE |  |  | 0
11.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
11.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
11.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
11.6 |  | DDischarge Hose 2 Inch (50MM) with Female Swivel Fittings, MODEL: SD-DH0050 WITH 2 Inch (50MM) Check Valve, MODEL:SD-CV0050 | SHIELD | SD-DH0050/SD-CV0050 | Nos | 1 | 910 | 274.0139 | 10 | 274.0139 | 0 | FALSE |  |  | 0
11.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 2 | 300 | 90.3342 | 10 | 180.6685 | 0 | FALSE |  |  | 0
11.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
12 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
12.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
12.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
12.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
12.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
12.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
12.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
13 |  | SHIELD 1230 -LGA ELECTRICAL ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
13.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 1 | 13000 | 3914.4836 | 10 | 3914.4836 | 0 | FALSE |  |  | 0
13.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 292 | 90 | 27.1003 | 10 | 7913.2791 | 0 | FALSE |  |  | 0
13.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 1 | 175 | 52.695 | 10 | 52.695 | 0 | FALSE |  |  | 0
13.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
13.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
13.6 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
13.7 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
13.8 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 5 | 300 | 90.3342 | 10 | 451.6712 | 0 | FALSE |  |  | 0
13.9 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
14 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
14.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
14.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 8 | 47 | 14.1524 | 10 | 113.2189 | 0 | FALSE |  |  | 0
14.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
14.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
14.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
14.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
15 |  | SHIELD 1230 -WTP ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
15.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 4 | 13000 | 3914.4836 | 10 | 15657.9344 | 0 | FALSE |  |  | 0
15.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 1098 | 90 | 27.1003 | 10 | 29756.0976 | 0 | FALSE |  |  | 0
15.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 4 | 175 | 52.695 | 10 | 210.7799 | 0 | FALSE |  |  | 0
15.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
15.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
15.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 3 | 157 | 47.2749 | 10 | 141.8248 | 0 | FALSE |  |  | 0
15.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
15.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 4 | 2640 | 794.9413 | 10 | 3179.7651 | 0 | FALSE |  |  | 0
15.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 3 | 40 | 12.0446 | 10 | 36.1337 | 0 | FALSE |  |  | 0
15.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
15.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
15.12 |  | Pneumatic Elbow (Used at Valve) for Shield 1230, P/N.# SD700021 - Shield | SHIELD | SD700021 | Nos | 1 | 100 | 30.1114 | 10 | 30.1114 | 0
15.13 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
15.14 |  | Tee Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-TFH-091 - SHIELD | SHIELD | SD-TFH-091 | Nos | 2 | 250 | 75.2785 |  | 150.5571
15.15 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 23 | 300 | 90.3342 | 10 | 2077.6874 | 0 | FALSE |  |  | 0
15.16 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
16 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
16.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
16.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 14 | 47 | 14.1524 | 10 | 198.1331 | 0 | FALSE |  |  | 0
16.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
16.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
16.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
16.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
16.7 |  | Main Reserve Selector Switch Box, MODEL:10 2697 | FIKE | 10 2697 | Nos | 1 | 1000 | 301.1141 | 10 | 301.1141 | 0 | FALSE |  |  | 0
17 |  | SHIELD 1230 -PTM PLC ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
17.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 3 | 13000 | 3914.4836 | 10 | 11743.4508 | 0 | FALSE |  |  | 0
17.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 930 | 90 | 27.1003 | 10 | 25203.252 | 0 | FALSE |  |  | 0
17.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 3 | 175 | 52.695 | 10 | 158.0849 | 0 | FALSE |  |  | 0
17.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
17.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
17.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 2 | 157 | 47.2749 | 10 | 94.5498 | 0 | FALSE |  |  | 0
17.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
17.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 3 | 2640 | 794.9413 | 10 | 2384.8238 | 0 | FALSE |  |  | 0
17.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 2 | 40 | 12.0446 | 10 | 24.0891 | 0 | FALSE |  |  | 0
17.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
17.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
17.12 |  | Pneumatic Elbow (Used at Valve) for Shield 1230, P/N.# SD700021 - Shield | SHIELD | SD700021 | Nos | 1 | 100 | 30.1114 | 10 | 30.1114 | 0
17.13 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
17.14 |  | Tee Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-TFH-091 - SHIELD | SHIELD | SD-TFH-091 | Nos | 1 | 250 | 75.2785 |  | 75.2785
17.15 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 16 | 300 | 90.3342 | 10 | 1445.3478 | 0 | FALSE |  |  | 0
17.16 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
18 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
18.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
18.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 18 | 47 | 14.1524 | 10 | 254.7425 | 0 | FALSE |  |  | 0
18.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
18.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
18.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
18.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
19 |  | SHIELD 1230 -PTM PLC ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
19.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
19.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 490 | 90 | 27.1003 | 10 | 13279.1328 | 0 | FALSE |  |  | 0
19.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
19.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
19.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
19.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
19.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
19.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
19.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
19.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
19.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
19.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
19.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 11 | 300 | 90.3342 | 10 | 993.6766 | 0 | FALSE |  |  | 0
19.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
20 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
20.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
20.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 8 | 47 | 14.1524 | 10 | 113.2189 | 0 | FALSE |  |  | 0
20.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
20.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
20.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
20.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
21 |  | SHIELD 1230 -PLC ELECTRICAL ROOM (ROLL SHOP) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
21.1 |  | SHIELD1230 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL: | SHIELD | SD-106FK5-02 | Nos | 1 | 5600 | 1686.2391 | 10 | 1686.2391 | 0 | FALSE |  |  | 0
21.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 78 | 90 | 27.1003 | 10 | 2113.8211 | 0 | FALSE |  |  | 0
21.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
21.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
21.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
21.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
21.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 2 | 300 | 90.3342 | 10 | 180.6685 | 0 | FALSE |  |  | 0
21.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
22 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
22.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
22.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
22.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
22.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
22.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
22.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
23 |  | SHIELD 1230 -PMILL CELL ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
23.1 |  | SHIELD1230 147.0L Cylinder Assembly (73.6kg-176.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL:SD-147FK5-02 | SHIELD | SD-147FK5-02 | Nos | 1 | 6320 | 1903.0413 | 10 | 1903.0413 | 0 | FALSE |  |  | 0
23.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 130 | 90 | 27.1003 | 10 | 3523.0352 | 0 | FALSE |  |  | 0
23.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
23.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
23.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
23.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
23.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 3 | 300 | 90.3342 | 10 | 271.0027 | 0 | FALSE |  |  | 0
23.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
24 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
24.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
24.2 |  | MANUAL RELEASE, 60-007 FIKE | FIKE | 60-007 | Nos | 1 | 1000 | 301.1141 | 10 | 301.1141 | 0 | FALSE |  |  | 0
24.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
24.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
24.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
24.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
25 |  | SHIELD 1230 -MSS3 UTILITY ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
25.1 |  | SHIELD1230 180.0L Cylinder Assembly (90.1kg-216.0kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL: SD-180FK5-02 | SHIELD | SD-180FK5-02 | Nos | 1 | 7000 | 2107.7989 | 10 | 2107.7989 | 0 | FALSE |  |  | 0
25.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 162 | 90 | 27.1003 | 10 | 4390.2439 | 0 | FALSE |  |  | 0
25.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
25.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
25.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
25.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
25.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 3 | 300 | 90.3342 | 10 | 271.0027 | 0 | FALSE |  |  | 0
25.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
26 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
26.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
26.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 4 | 47 | 14.1524 | 10 | 56.6095 | 0 | FALSE |  |  | 0
26.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
26.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
26.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
26.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
27 |  | SHIELD 1230 -MCC UTILITY ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
27.1 |  | SHIELD1230 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without Liquid level indicator, MODEL: SD-369K5-03 | SHIELD | SD-369FK5-03 | Nos | 2 | 13000 | 3914.4836 | 10 | 7828.9672 | 0 | FALSE |  |  | 0
27.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 740 | 90 | 27.1003 | 10 | 20054.2005 | 0 | FALSE |  |  | 0
27.3 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet, MODEL: SD-VOA0080 | SHIELD | SD-VOA0080 | Nos | 2 | 175 | 52.695 | 10 | 105.3899 | 0 | FALSE |  |  | 0
27.4 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
27.5 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
27.6 |  | Pneumatic Actuator, MODEL: SD-PA0025 | SHIELD | SD-PA0025 | Nos | 1 | 157 | 47.2749 | 10 | 47.2749 | 0 | FALSE |  |  | 0
27.7 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
27.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 2 | 2640 | 794.9413 | 10 | 1589.8826 | 0 | FALSE |  |  | 0
27.9 |  | Flexibel Hose Assembly with 1/4 Inch Female Swivel Fittings, MODEL:SD-FLXHS0015 | SHIELD | SD-FLXHS0015 | Nos | 1 | 40 | 12.0446 | 10 | 12.0446 | 0 | FALSE |  |  | 0
27.10 |  | Nipple Size: 1/4", For Connecting Flexible Hose to Discharge Valve, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-NPFH-090 - SHIELD | SHIELD | SD-NPFH-090 | Nos | 1 | 50 | 15.0557 | 10 | 15.0557 | 0 | FALSE |  |  | 0
27.11 |  | Elbow Size: 1/4", For Connecting Flexible Hose to Pneumatic Actuator, For SHIELD1230/SHIELD200 Fire Suppression System, Model: SD-ELWFH-092 - SHIELD | SHIELD | SD-ELWFH-092 | Nos | 1 | 120 | 36.1337 | 10 | 36.1337 | 0 | FALSE |  |  | 0
27.12 |  | Manifold 4" for 2 x 369Ltr Container Assembly, 3" NPT Inlet Threaded, For SHIELD1230/SHIELD200 Fire Suppression System, Red Color, model:SD-MF100-80-2 | SHIELD | SD-MF100-80-2 | Nos | 1 | 2256 | 679.3135 | 10 | 679.3135 | 0 | FALSE |  |  | 0
27.13 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 13 | 300 | 90.3342 | 10 | 1174.3451 | 0 | FALSE |  |  | 0
27.14 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
28 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
28.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
28.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 12 | 47 | 14.1524 | 10 | 169.8284 | 0 | FALSE |  |  | 0
28.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
28.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
28.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
28.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
29 |  | SHIELD 1230 -PLC ROOM (DDP) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
29.1 |  | SHIELD1230 147.0L Cylinder Assembly (73.6kg-176.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL:SD-147FK5-02 | SHIELD | SD-147FK5-02 | Nos | 1 | 6320 | 1903.0413 | 10 | 1903.0413 | 0 | FALSE |  |  | 0
29.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 102 | 90 | 27.1003 | 10 | 2764.2276 | 0 | FALSE |  |  | 0
29.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
29.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
29.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
29.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
29.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 2 | 300 | 90.3342 | 10 | 180.6685 | 0 | FALSE |  |  | 0
29.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
30 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
30.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
30.1 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
30.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
30.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
30.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
30.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
31 |  | SHIELD 1230 -DUD ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
31.1 |  | SHIELD1230 180.0L Cylinder Assembly (90.1kg-216.0kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL: SD-180FK5-02 | SHIELD | SD-180FK5-02 | Nos | 1 | 7000 | 2107.7989 | 10 | 2107.7989 | 0 | FALSE |  |  | 0
31.1 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 168 | 90 | 27.1003 | 10 | 4552.8455 | 0 | FALSE |  |  | 0
31.1 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
31.1 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
31.1 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
31.1 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
31.1 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 4 | 300 | 90.3342 | 10 | 361.3369 | 0 | FALSE |  |  | 0
31.1 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
32 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
32.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
32.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 4 | 47 | 14.1524 | 10 | 56.6095 | 0 | FALSE |  |  | 0
32.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
32.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
32.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
32.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
33 |  | SHIELD 1230 -CRUSHER CELL ROOM |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
33.1 |  | SHIELD1230 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR. MODEL:SD-52FK5-02 | SHIELD | SD-52FK5-02 | Nos | 1 | 4730 | 1424.2698 | 10 | 1424.2698 | 0 | FALSE |  |  | 0
33.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 48 | 90 | 27.1003 | 10 | 1300.813 | 0 | FALSE |  |  | 0
33.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
33.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
33.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
33.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
33.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 1 | 300 | 90.3342 | 10 | 90.3342 | 0 | FALSE |  |  | 0
33.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
34 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
34.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
34.2 |  | MANUAL RELEASE, 60-007 FIKE | FIKE | 60-007 | Nos | 2 | 1000 | 301.1141 | 10 | 602.2282 | 0 | FALSE |  |  | 0
34.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
34.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
34.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
34.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
35 |  | SHIELD 1230 -OVEN ROOM 2 HT |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
35.1 |  | SHIELD1230 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR, MODEL: SD-106FK5-02 | SHIELD | SD-106FK5-02 | Nos | 1 | 5600 | 1686.2391 | 10 | 1686.2391 | 0 | FALSE |  |  | 0
35.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 82 | 90 | 27.1003 | 10 | 2222.2222 | 0 | FALSE |  |  | 0
35.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
35.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
35.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
35.6 |  | DDischarge Hose 2 Inch (50MM) with Female Swivel Fittings, MODEL: SD-DH0050 WITH 2 Inch (50MM) Check Valve, MODEL:SD-CV0050 | SHIELD | SD-DH0050/SD-CV0050 | Nos | 1 | 910 | 274.0139 | 10 | 274.0139 | 0 | FALSE |  |  | 0
35.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 3 | 300 | 90.3342 | 10 | 271.0027 | 0 | FALSE |  |  | 0
35.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
36 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
36.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
36.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
36.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
36.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
36.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
36.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
37 |  | SHIELD 1230 -COMPUTER SERVER ROOM ( SIT TM) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
37.1 |  | SHIELD1230 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR. MODEL:SD-52FK5-02 | SHIELD | SD-52FK5-02 | Nos | 1 | 4730 | 1424.2698 | 10 | 1424.2698 | 0 | FALSE |  |  | 0
37.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 33 | 90 | 27.1003 | 10 | 894.3089 | 0 | FALSE |  |  | 0
37.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
37.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
37.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
37.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
37.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 1 | 300 | 90.3342 | 10 | 90.3342 | 0 | FALSE |  |  | 0
37.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
38 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
38.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
38.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
38.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
38.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
38.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
38.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
39 |  | SHIELD 1230 -PLAY MILL ELECTRICAL ROOM-SERVER RROM ( BS SITE) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
39.1 |  | SHIELD1230 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR. MODEL:SD-52FK5-02 | SHIELD | SD-52FK5-02 | Nos | 1 | 4730 | 1424.2698 | 10 | 1424.2698 | 0 | FALSE |  |  | 0
39.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 39 | 90 | 27.1003 | 10 | 1056.9106 | 0 | FALSE |  |  | 0
39.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
39.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
39.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
39.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
39.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 1 | 300 | 90.3342 | 10 | 90.3342 | 0 | FALSE |  |  | 0
39.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
40 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
40.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
40.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
40.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
40.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
40.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
40.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0
41 |  | SHIELD 1230 -ELECTRICAL ROOM STEACKEL SERVER ROOM (SITE SS) |  |  |  | 1 | 0 |  | 0 | 0 | 0 | FALSE |  |  | 0
41.1 |  | SHIELD1230 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LIQUID LEVEL INDICATOR. MODEL:SD-52FK5-02 | SHIELD | SD-52FK5-02 | Nos | 1 | 4730 | 1424.2698 | 10 | 1424.2698 | 0 | FALSE |  |  | 0
41.2 |  | SHIELD1230 (SD-FK-5-1-12) Agent Per kgs, MODEL: SD-FK-5-1-12 | SHIELD | SD-FK-5-1-12 | KG | 39 | 90 | 27.1003 | 10 | 1056.9106 | 0 | FALSE |  |  | 0
41.3 |  | Electric Actuator (Bridge Rectifier), 1 Inch Connection 24V DC, FM Approved, MODEL: SD-REA-SS | SHIELD | SD-REA-SS | Nos | 1 | 1507 | 453.779 | 10 | 453.779 | 0 | FALSE |  |  | 0
41.4 |  | Manual Actuator with Push to operate, MODEL: SD-MA0025 | SHIELD | SD-MA0025 | Nos | 1 | 177 | 53.2972 | 10 | 53.2972 | 0 | FALSE |  |  | 0
41.5 |  | DISCHARGE PRESSURE SWITCH, MODEL:SD-DPS-B6-95-1 | SHIELD | SD-DPS-B6-95-1 | Nos | 1 | 1530 | 460.7046 | 10 | 460.7046 | 0 | FALSE |  |  | 0
41.6 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings, MODEL: SD-DHCV0080/SD-CV0080 | SHIELD | SD-DHCV0080/SD-CV0080 | Nos | 1 | 2640 | 794.9413 | 10 | 794.9413 | 0 | FALSE |  |  | 0
41.7 |  | Dicsharge Nozzle UL Listed Brass, model: SD-FK5-NXXX-XX | SHIELD | SD-FK5-NXXX-XX | Nos | 1 | 300 | 90.3342 | 10 | 90.3342 | 0 | FALSE |  |  | 0
41.8 |  | WARNING SIGN, MODEL: SD-FK5-WARN | SHIELD | SD-FK5-WARN | SET | 1 | 150 | 45.1671 | 10 | 45.1671 | 0 | FALSE |  |  | 0
42 |  | ELECTRICAL COMPONENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
42.1 |  | CONVENTIONAL EXTINGUISHING CONTROL PANEL 230V, RED-SHIELD A-XT, UL LISTED, MODEL:S230R-EXT - SHIELD | SHIELD | S230R-EXT - | Nos | 1 | 3000 | 903.3424 | 10 | 903.3424 | 0 | FALSE |  |  | 0
42.2 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2011/ S-C2001 | Nos | 2 | 47 | 14.1524 | 10 | 28.3047 | 0 | FALSE |  |  | 0
42.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX | SHIELD | S111R-AB | Nos | 1 | 275 | 82.8064 | 10 | 82.8064 | 0 | FALSE |  |  | 0
42.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX | SHIELD | FB1000C6 | Nos | 1 | 75 | 22.5836 | 10 | 22.5836 | 0 | FALSE |  |  | 0
42.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | Nos | 1 | 145 | 43.6615 | 10 | 43.6615 | 0 | FALSE |  |  | 0
42.6 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD | SHIELD | SH-STIR | Nos | 1 | 112 | 33.7248 | 10 | 33.7248 | 0 | FALSE |  |  | 0