## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Rated Pump Duty: 1000 GPM @ 17 Bar Jockey Pump Duty: 30GPM @ 17.7 Bar 1E+1D+1J - NAFFCO UL Listed Horizontal Split Case Pump Coupled with Drivers (ODP Motor & Diesel Engine) + 1 Vertical Multi Stage Jockey Pump and NAFFCO UL/FM Approved 1 Electric (Y-Delta Open Type Transition, NEMA 2 Enclosure)+ NAFFCO UL/FM Approved 1 Diesel (NEMA 2 Enclosure) + NAFFCO UL Listed 1 Jockey Pump Controller (NEMA 2 Enclosure) and Standard Accessories |  |  | LOT | 1 | 79000 | 79000 | 0 | 79000 | 0 | FALSE |  |  | 300000002306007 | Fire Pump