## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Main Building |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
1.1 |  | Smoke Detector with Base ,Model: S-A4011E+S-A4001 | Shield |  | Nos | 445 | 80.74 | 22 | 0 | 9790 | 0 | FALSE |  |  | 0
1.2 |  | Manual Call Point with base ,Model: S-A4061/S-A4062 | Shield |  | Nos | 16 | 132.12 | 36 | 0 | 576 | 0 | FALSE |  |  | 0
1.3 |  | Addressable Sounder ,Model: S-A4021 | Shield |  | Nos | 30 | 124.78 | 34 | 0 | 1020 | 0 | FALSE |  |  | 0
1.4 |  | 4 Loop Fire Alarm Control Panel ,Model: NX-FACP-4 | Shield |  | Nos | 1 | 5622.44 | 1532 | 0 | 1532 | 0 | FALSE |  |  | 0
1.5 |  | 1 Loop Fire Alarm Control Panel ,Model: NX-FACP-1 | Shield |  | Nos | 1 | 2811.22 | 766 | 0 | 766 | 0 | FALSE |  |  | 0
1.6 |  | Network Card ,Model:NX-FANET7 | Shield |  | Nos | 2 | 1691.87 | 461 | 0 | 922 | 0 | FALSE |  |  | 0
1.7 |  | Isolator Module with Base ,Model: S-A4051/S-A4002 | Shield |  | Nos | 33 | 47.71 | 13 | 0 | 429 | 0 | FALSE |  |  | 0
2 |  | Engineering College Building |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
2.1 |  | Smoke Detector with Base ,Model: S-A4011E+S-A4001 | Shield |  | Nos | 445 | 80.74 | 22 | 0 | 9790 | 0 | FALSE |  |  | 0
2.2 |  | Manual Call Point with base ,Model: S-A4061/S-A4062 | Shield |  | Nos | 14 | 132.12 | 36 | 0 | 504 | 0 | FALSE |  |  | 0
2.3 |  | Addressable Sounder ,Model: S-A4021 | Shield |  | Nos | 42 | 124.78 | 34 | 0 | 1428 | 0 | FALSE |  |  | 0
2.4 |  | 4 Loop Fire Alarm Control Panel ,Model: NX-FACP-4 | Shield |  | Nos | 1 | 5622.44 | 1532 | 0 | 1532 | 0 | FALSE |  |  | 0
2.5 |  | 1 Loop Fire Alarm Control Panel ,Model: NX-FACP-1 | Shield |  | Nos | 1 | 2811.22 | 766 | 0 | 766 | 0 | FALSE |  |  | 0
2.6 |  | Network Card ,Model:NX-FANET7 | Shield |  | Nos | 2 | 1691.87 | 461 | 0 | 922 | 0 | FALSE |  |  | 0
2.7 |  | Isolator Module with Base ,Model: S-A4051/S-A4002 | Shield |  | Nos | 34 | 47.71 | 13 | 0 | 442 | 0 | FALSE |  |  | 0
3 |  | Medical College Building |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
3.1 |  | Smoke Detector with Base ,Model: S-A4011E+S-A4001 | Shield |  | Nos | 445 | 80.74 | 22 | 0 | 9790 | 0 | FALSE |  |  | 0
3.2 |  | Manual Call Point with base ,Model: S-A4061/S-A4062 | Shield |  | Nos | 14 | 132.12 | 36 | 0 | 504 | 0 | FALSE |  |  | 0
3.3 |  | Addressable Sounder ,Model: S-A4021 | Shield |  | Nos | 42 | 124.78 | 34 | 0 | 1428 | 0 | FALSE |  |  | 0
3.4 |  | 4 Loop Fire Alarm Control Panel ,Model: NX-FACP-4 | Shield |  | Nos | 1 | 5622.44 | 1532 | 0 | 1532 | 0 | FALSE |  |  | 0
3.5 |  | 1 Loop Fire Alarm Control Panel ,Model: NX-FACP-1 | Shield |  | Nos | 1 | 2811.22 | 766 | 0 | 766 | 0 | FALSE |  |  | 0
3.6 |  | Network Card ,Model:NX-FANET7 | Shield |  | Nos | 2 | 1691.87 | 461 | 0 | 922 | 0 | FALSE |  |  | 0
3.7 |  | Isolator Module with Base ,Model: S-A4051/S-A4002 | Shield |  | Nos | 34 | 47.71 | 13 | 0 | 442 | 0 | FALSE |  |  | 0
4 |  | Pump |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
4.1 |  | 1E+1D+1J (NON-LISTED) (PUMP FOR DUTY POINT 100.00 USGPM @ 8.00 BAR) 1) FIRE PUMPS: NAFFCO HORIZONTAL END SUCTION, 2) DRIVERS: MOTOR AND DIESEL ENGINE, 3) JOCKEY PUMP: VERTICAL MULTISTAGE - 10 GPM @ 8 BAR, 4) CONTROLLER: COMMON CONTROLLER FOR ELECTRIC / DIESEL / JOCKEY 5) SUCTION AND DISCHARGE MANIFOLD, VALVES AND FITTINGS ARE INCLUDED 6) ALL MOUNTED ON COMMON BASE FRAME | Naffco | - | Set | 1 | 26306.56 | 7168 | 0 | 7168 | 0 | FALSE |  |  | 0